## Slide 1
Water Reconciliation Strategies and Intervention Measures
Pilot Training Week 2: 5 November 2018

## Slide 2: Overview
Background
Purpose
Approach
Interventions
Implementation

## Slide 3: Background
2004: National Water Resource Strategy (NWRS), First Edition
  Chapter 2 and Appendix D summarised the water resource situation
  Addressed the scarcity of water in South Africa
  Fresh water is limited and unevenly distributed
  Situation varied from area to area

## Slide 4: Background cont.
NWRS information on a broad overview level
Can for instance not be used to build infrastructure
More detail required
Internal Strategic Perspectives (ISPs) – Catchment Management Area level, but still not detailed enough
Reconciliation Strategies for:
  Large systems supplying areas of large economic importance
  Rest of towns covered in “All Town Strategies”

## Slide 5: Water Reconciliation Strategies
Water resources
Determine if system is in balance, now and into the future
If not determine appropriate interventions to avoid deficits
Significant Communication with Stakeholders
Water requirements

## Slide 6: Background cont.
What is reconciliation:
  Develop future water requirement scenarios in consultation with users
  Investigate all possible water resources and other interventions
  Investigate all possible methods for reconciling the water requirements with the available resources
  Make recommendations for development and implementation of interventions

## Slide 7: NSDP: Key demand centres

## Slide 8: Background cont.
  2012 National Water Resource Strategy (NWRS 2, draft)
    NWRS 2 is building on NWRS 1, not replacing it
    Putting water at the centre of integrated development planning and decision making
    Ensuring water for equitable growth and development
    Protecting water ecosystems
    Implementing water use efficiency and WC/WDM
    Optimising water resources
    Achieving effective water governance and Developmental Water Management

## Slide 9: Background to All Towns
2008: Development of Reconciliation Strategies for All Towns
Intention to support Municipalities and encourage improved planning and management of water resources
Key general messages from All Town Studies (2008-2011)
  Improved management will solve largest portion of immediate problems
  Identified priority Towns where water requirements exceed water resources availability
  Minimal metering
  High per capita use in many towns pointing to WC/WDM potential
  Groundwater remains a feasible source of water for many towns

## Slide 10: Background to All Towns cont.
Key general messages from All Town Studies (2008-2011) cont.
  Infrastructure constraints rather than water resource availability limitations
  Rudimentary strategies for all towns – improvement required
2012: Continuation of the DWA Planning Regions’ All Town Reconciliation Strategies: Phase 1
  Update and review priority strategies - three year appointment (till 2015)

## Slide 11: Overview of DWA Planning Regions
DWA: NWRP - National Office
Eastern Planning Region
PSP, SSC
PSP, SSC
Southern Planning Region
PSP, SSC
Central Planning Region
PSP, SSC
Northern Planning Region

## Slide 12: What is a Reconciliation Strategy?
  Plans of action or policy designed to ensure sufficient water is made available to towns/wider area over the next 20-25 years
  Uses information collected (building blocks) on:
    Water requirements
    Water use and infrastructure
    Water resources
    WC/WDM
  Develop scenarios to meet water requirements for current and future use, including optimisation of local resources, improved water services and water resource management

## Slide 13: What is a Reconciliation Strategy? Cont.
It aims to answer these questions:
  How must water is needed? - now and in the future
  What water resources are available or can be made available?
  Which interventions can be considered to achieve a balance between water needs and supply?
Focuses on the projected annual water balance (high and low growth scenarios)
Also consider the accuracy of all components that make up the water balance

## Slide 14: Purpose
Becomes the “policy” of all water related work in a specific area
After Recon done, ongoing efforts of “maintenance” or “implementation” to continuously update Strategy and keep it alive
DWS still custodian, implementers need to take ownership

## Slide 15: 3: Approach

## Slide 16: Reconciliation Strategies: Components
1 Introduction
2 Demographics
3 Water Requirements
4 Water Supply Infrastructure
5 Water Conservation & Water Demand Management
6 Water Resources
7 Water Balance
8 Reconciliation Options to Meet Shortages
9 Institutional Issues
10 Conclusions & Strategy Recommendations
Supporting Reports, Full Recon Strategy, Executive Summary

## Slide 17: Introduction
General Layout of the Study Area
Objectives
Background
  First Strategy
  Maintenance: outcomes of first Strategy

## Slide 18: Demographics
Existing population assessment and update
Future population projections
  Natural growth
  Migration

## Slide 19: Water Requirements
Various Sectors
Urban: linked to population, level of service
Irrigation
Bulk Industrial
EWR, latest available
Allocations vs actual use
Future growth

## Slide 20: Water Infrastructure
Existing infrastructure
  Water Treatment Works
  Waste Water Treatment Works
  Abstraction points
  Pipe network
Status quo, bottlenecks, future requirements

## Slide 21: WCWDM
Assessment of status of water losses in study area
Linking with demographics, water requirements
Determination of potential savings that can be made
Adjusted future requirement projection relating to WCWDM initiatives

## Slide 22: Water Resources
Hydrology
Groundwater
Water availability assessment
Yield Analyses
Planning analyses
Water Quality

## Slide 23: Water Balance
Scenarios of water requirements and water availability
Determination of date when deficits will occur

## Slide 24: Reconciliation Options to Meet Shortages
Assessment of intervention options to meet deficit
Infrastructure
Savings
Groundwater
Costing and ranking of options
Timeline of when augmentation should occur to maintain a balance

## Slide 25: Institutional Issues
Water Services Authorities
Water Services Providers
Other Institutions
Capacity constraints

## Slide 26: Conclusions & Recommendations
Action Plan
Assigning Responsibilities and targets

## Slide 28: 5: Implementation

## Slide 29: Role of Strategies Steering Committee (SSC)
To provide executive guidance to the direction and outcomes of the study
To provide supplementary information and input from a local and regional perspective
To facilitate strategic linkages with other initiatives
To disseminate information from study into the relevant organizations
Incorporate strategies’ recommendations into development plans such as WSDPs, IDPs etc.
To facilitate the acceptance and sign-off of the updated Reconciliation Strategies