## Slide 1: PROJECT PLANNING

## Slide 2
Approval and Gazetting ito Section 109 and 110 of NWA

## Slide 3: Typical Interventions
Management interventions:
  Water Conservation and Water Demand Management.
  Optimal system operation.
  Adjusting assurance of supply.
  Reallocation.
  Rainfall harvesting
Infrastructure developments:
  Water re-use
  Augmentation Schemes
    Surface
    Groundwater
Notes:   Urban, Rural domestic
    Review WC/WDM strategies of key WSA
    Determine realistic potential savings, cost estimations & implementation program, Review after 18 months

## Slide 4
Reconnaissance Phase
Feasibility
Phase
Pre-feasibility Phase
Decision Support Phase
Design/ Documentation Phase
Construction/ Implementation Phase
Integrated Vaal River System
Orange River System
Crocodile West River System
Olifants River System
KZN Coastal Water Supply Systems
Algoa Water Supply System
Western Cape Water Supply System
Other areas
(incl. Amatole, Mhlatuze & Outeniqua)
DWS WATER RESOURCE DEVELOPMENT PROJECTS FUNNEL
Surface water
Groundwater
Re-use of water
Acid mine drainage
Importation of water
Desalination of seawater
Capacity (million m3/a)
Phase completed
Phase in progress
Decision to progress to next phase
123
LEGEND
110
Voëlvlei Augment.
Phase 2&3
Clanwilliam Conveyance Infrastructure
Mzimvubu-Vaal transfer
50+
100
Zambezi
transfer
200
Zambezi
transfer
VD Kloof Dam
Low level Storage
650
Zambezi
transfer
200+
Desalination
511
Mzimvubu-Vaal
transfer
556
Mzimvubu-
Kraai transfer
465
Orange-Vaal
Transfer
100
Use of acid
mine drainage
216
Boskraai Dam
Thugela-Vaal
(Jana)
356
151
Thugela-Vaal
(Mielietuin)
LHWP
Phase II
393
Vioolsdrift Dam
Raising of
Gariep Dam
Re-use
(Mhlatuze)
15
Thukela-Mhlatuze Transfer
40
Guernakop Dam/ Raising of Kouga Dam
32
Groundwater schemes
8
90
Vaal-Crocodile
Transfer
50+
Desalination
14
West Coast Aquifer
160
Desalination
190
Vaal–Olifants
Transfer
126
Re-use of effluent
from Vaal
33
Use of acid
mine drainage
55
Olifants Dam
40
Re-use
100+
Desalination
uMkhomazi-Mngeni transfer
Ph1 (Smithfield)
220
uMkhomazi-Mngeni transfer Ph2 (Impendle Dam)
218
16
Re-use to industrial standards
83
Re-use
9
Cape Flats
Aquifer
20
TMG
Aquifer
7
Lusikisiki:
Zalu Dam
60
Crocodile East Dam
14
Nwamitwa Dam
27
Upper Molenaars diversion
23
Voëlvlei Augment.
Phase 1
46
Mitchell’s Pass diversion
37
Lower Thukela Scheme
46
Isithundu
Dam
14
Mokolo Crocodile Augment.
Project Ph1 (Mokolo)
40
Mokolo Crocodile Augment
Project Ph2 (Crocodile)
80
ORWRDP: De Hoop
Dam
60
Mooi-Mgeni Transfer Phase II (Spring Grove)
241
Ntabalenga Dam
Ludke Dam
20
Nooitgedacht Low Level Storage Dam
5
Malmani Dolomite Aquifer
Raising of Hazelmere Dam
ORWRDP Bulk Conveyance
16
Koonap River :
Foxwood Dam
Raising of Tzaneen Dam
Ncwabeni Off-channel Storage Dam
Lalini Dam
23
Nwamitwa
Aquifer
23
Xhariep Pipeline
Clanwilliam Dam Raising
Oct 2017

## Slide 5: Some Feasibility study modules
Water Resources Assessment
Assessment of Augmentation from Groundwater
Intermediate Reserve Determination
Domestic Water Requirements
Irrigation Potential Assessment
Water Distribution Infrastructure
Materials and Geotechnical Investigations
Dam Feasibility Design
Regional Economics
Environmental Screening
Record of Implementation Decisions

## Slide 6
ENVIRONMENTAL IMPACT ASSESSMENT
Process Completed

## Slide 7: Case study